

**OUR REF: DTA/ITED/LO08/14**

**DATE 13/01/2017**

**ATT: LILIAN KERONGO (INGRID ED. CENTRE)**

**BOX 214-00515-BURUBURU**

**NAIROBI**

Dear Madam

**RE: QUOTATION TO SUPPLY AND INSTALL A BOREHOLE PUMP**

|  |  |
| --- | --- |
| **Description** | **Amount(Kshs)** |
| **-**Grundfos Sub-pump sp8a-50  -Drop Cable 10mm 250metres x3 core  -Electrode Cable 500mls  -One pair of Electrode  -GI class B2’’Pipe 41No.  -Borehole cover c/w accessories  -One set of adaptor  -Control panel  -Installation Labour  -Pvc deeper pipes 41 NO. | 505,000  540,500  37,000  4,200  217,300  25,000  3,500  75,000  45,000  12,300 |
| **TOTAL** | **1,464,500/=** |

With regards

Yours faithfully

For and on behalf of

**DE’TEC AGENCIES**

**S. MAGOLLO**

**CONSULTANT WATER ENGINEER**