

**OUR REF: DTA/ITED/LO08/14**

 **DATE 13/01/2017**

**ATT: LILIAN KERONGO (INGRID ED. CENTRE)**

**BOX 214-00515-BURUBURU**

**NAIROBI**

Dear Madam

**RE: QUOTATION TO SUPPLY AND INSTALL A BOREHOLE PUMP**

|  |  |
| --- | --- |
| **Description** | **Amount(Kshs)** |
| **-**Grundfos Sub-pump sp8a-50-Drop Cable 10mm 250metres x3 core-Electrode Cable 500mls-One pair of Electrode-GI class B2’’Pipe 41No.-Borehole cover c/w accessories-One set of adaptor-Control panel-Installation Labour-Pvc deeper pipes 41 NO. | 505,000540,500 37,000 4,200 217,300 25,000 3,500 75,000 45,000 12,300 |
| **TOTAL** | **1,464,500/=** |

With regards

Yours faithfully

For and on behalf of

**DE’TEC AGENCIES**

**S. MAGOLLO**

**CONSULTANT WATER ENGINEER**